## T1_Cover
Adaptation Guidance Tool
Please provide the following information
Project ID:
Project name:
Guidance Tool completed by:
Project type: |  | Please select from drop down list
Please select from drop down list
Asset life: |  | Please select from drop down list
Adaptation Guidance Tool Instructions
| 1. | Complete the cover sheet above
| 2. | Follow the prompts to the Guidance Tool and answer the questions
| 3. | Refer to the adaptation training handouts for additional assistance if required.
| 4. | Save completed Guidance Tool to project TRIM folder or network drive
| 5. | Attach completed Guidance Tool to project business case in IPM / Forecaster
This tool is designed to help you consider how climate change might impact your project, and how to make it more resilient to climate change. After completing the tool, you will have developed a simple Adaptation Action Plan for your project. In south-eastern Australia, climate change is projected to increase average daily temperatures and the incidence of heatwaves, intensify rainfall events and extreme weather and decrease average annual rainfall. These changes will affect infrastructure, communities and local environments. Effective adaptation will help ensure Councils remain able to achieve their objectives and continue to deliver high-quality services to their local communities. For more information about adaptation visit xx
Please select project type
v1.2

## T2_Operating_SR
Back to Cover
Climate information, objectives and impacts
Climate information
By 2030 climate change is expected to lead to an increase in average daily temperatures and the incidence of heatwaves, intense rainfall events and extreme weather and a decrease in average annual rainfall in the City of Yarra. Specifically:
• Increase in the average annual temperature by 0.94°C (ranges from 0.63°C increase to 1.29°C increase) • Increase in the number of hot days over 35°C from 8 days to 12 days • Decrease in average annual rainfall by 1.66% (ranges from 12.23% decrease to 3.01% increase) • Decrease in the number of frost days from 3 days to 1 day • Increase in the frequency and extent of droughts • Increase in rainfall intensity and the frequency and severity of storm events
Objectives
What are the objectives of the service to be reviewed?
Please detail below
Impacts
Thinking about the climate projections above, how would the changes impact the delivery of your services (e.g. Maternal Child Health services are interrupted as air-conditioning not working in Council building due to prolonged heat wave, sports ground surfaces become unusable due to prolonged drought preventing sporting groups and general community using them)? While you most likely already plan for extreme weather, climate change is expected to increase the frequency and intensity of these events. Therefore think about how the projected changes (e.g. from 8 days over 35 degrees to 12 days over 35 degrees) might impact your services.
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Actions
How could you minimise the impact of climate change on the service?
For example:
• Review relevant service policies and procedures and embed consideration of climate change
• Include energy efficiency (e.g. draught proofing) activities in HACC maintenance works
• Embed capacity to cope with climate change in HACC service user assessment
• Work with building operations team to assess the vulnerability of key buildings to climate change
Please list potential adaptation actions in the table below.
Potential adaptation actions
0
0
0
0
0
| Back to Cover | Go to Action Plan

## T2_Operating_SD
Back to Cover
Climate information, objectives and impacts
Climate information
By 2030 climate change is expected to lead to an increase in average daily temperatures and the incidence of heatwaves, intense rainfall events and extreme weather and a decrease in average annual rainfall in the City of Yarra. Specifically:
• Increase in the average annual temperature by 0.94°C (ranges from 0.63°C increase to 1.29°C increase) • Increase in the number of hot days over 35°C from 8 days to 12 days • Decrease in average annual rainfall by 1.66% (ranges from 12.23% decrease to 3.01% increase) • Decrease in the number of frost days from 3 days to 1 day • Increase in the frequency and extent of droughts • Increase in rainfall intensity and the frequency and severity of storm events
Objectives
What is the objective of your strategy / policy / program?
Please detail below
Impacts
Thinking about the climate projections above, how would the changes impact the delivery of the strategy / policy / program objectives (e.g. sports ground surfaces become unusable due to prolonged drought preventing sporting groups and general community using them - possibly affecting the delivery of the draft Yarra Sport and Physical Activity Strategy)?
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Actions
How could you minimise the impact of climate change on the strategy / policy / program objectives?
For example:
• Include a high level section in the strategy about climate change, and its relevance to the strategy
• Reference the need for climate consideration during implementation of an objective
• Reference the need for climate consideration during implementation of an action
• Directly alter an objective to minimise the impact of climate change
• Directly alter an action to minimise the impact of climate change
Please list potential adaptation actions in the table below.
Potential adaptation actions
0
0
0
0
0
| Back to Cover | Go to Action Plan

## T2_Capital_RO
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. road hardening and deterioration leading to more frequent maintenance and renewal; vegetation stress and heat island effect leading to reduced amenity and heat stress on community).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_DR
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. drainage blockages leading to localised flooding and disruption to local residents).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_BR
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. road hardening and deterioration leading to more frequent maintenance and renewal, localised flooding, heat island effect).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_TR (hidden)
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. road hardening and deterioration, localised flooding, heat island effect).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_IN
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. power outages, localised flooding, heat island effect, vegetation stress, road degradation).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_OS1
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. hardening of ground, localised flooding, water shortages, heat island effect, vegetation stress and death).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_OS2
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. turf hardening and degradation leading to closures or restricted access, water shortages leading to turf dieback, heat stress on users leading to illness).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_BL
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. decreased thermal comfort leading to more pressure on cooling system, higher electricity bills and complaints from occupants; power outages leading to temporary closure of the building and disruption to council services; structural damage and flooding from extreme rainfall leading to more frequent maintenance and renewal and disruption to building users).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T2_Capital_PL
Back to Cover
Climate information, objectives and impacts
Climate information
Please select asset life
Please select asset life
Please select asset life
Objectives
What is the objective of your project? In answering, please consider the building / operations / service delivery associated with the asset.
Please detail below
Impacts
Think about how the asset and the project objective might be impacted based on the above projections (e.g. power outages, localised flooding, heat island effect, vegetation stress, road degradation).
Describe the impacts below, including flow on consequences where relevant
For more information about climate change impacts visit xx
Back to Cover | Next

## T3_Capital_RO
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Heatwave |  | Heat island effect |  | Use lighter road colours to reduce urban heat island effect.
0 | Heatwave |  | Road hardening and deterioration |  | Construct road (particularly surface) with materials designed for higher temperatures (e.g. bitumen and line markings with high durability).
0 | Intense rainfall |  | Localised flooding |  | Improve drainage capacity in low lying areas.
0 | Intense rainfall |  | Localised flooding |  | Increase use of permeable pavements for existing impermeable cover.
0 | Intense rainfall |  | Localised flooding |  | Use semi-porous infrastructure to reduce stormwater runoff and flooding.
0 | Intense rainfall |  | Localised flooding |  | Avoid surface construction in flood prone zones.
0 | Intense rainfall |  | Localised flooding |  | Incorporate water sensitive urban design (WSUD) treatments such as rain gardens / swales on road shoulder.
0 | Drought / Reduced rainfall |  | Vegetation stress and death |  | Plant street trees and plants that can tolerate heat stress conditions with low water requirements.
0 | Drought / Reduced rainfall |  | Vegetation stress and death |  | Allow for passive watering of plants in design of road.
0 | Heatwave |  | Heat island effect |  | Plant trees along median strip, particularly at rest points / intersections.
0 | Heatwave |  | Heat island effect |  | Incorporate more rest points and install drinking fountains.
0 | Heatwave |  | Heat island effect |  | Incorporate green infrastructure (e.g. planter boxes, green walls, permeable paving) into design.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_DR
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Drought / Reduced rainfall |  | Drain blockages |  | Increase maintenance regime of drains to remove blockages.
0 | Intense rainfall |  | Localised flooding |  | Upgrade localised drainage capacity at known flash flood points.
0 | Intense rainfall |  | Localised flooding |  | Incorporate water sensitive urban design (WSUD) such as rain gardens / swales into design of streetscape (particularly in areas known for flash flooding).
0 | Intense rainfall |  | Localised flooding |  | Incorporate stormwater capture and harvesting techniques into design of streetscape (particularly in areas know for flash flooding).
0 | Intense rainfall |  | Localised flooding |  | Upgrade stormwater infrastructure ensuring that modelling caters for expected climate change.
0 | Intense rainfall |  | Localised flooding |  | Model flooding of the local drainage system under climate change to confirm other ‘hotspots’ or areas at risk of flooding.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_BR
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Heatwave |  | Heat island effect |  | Use lighter road colours to reduce urban heat island effect.
0 | Heatwave |  | Road hardening and deterioration |  | Construct road (particularly surface) with materials designed for higher temperatures (e.g. bitumen and line markings with high durability).
0 | Intense rainfall |  | Localised flooding |  | Improve drainage capacity in low lying areas.
0 | Intense rainfall |  | Localised flooding |  | Increase use of permeable pavements for existing impermeable cover.
0 | Intense rainfall |  | Localised flooding |  | Use semi-porous infrastructure to reduce stormwater runoff and flooding.
0 | Intense rainfall |  | Localised flooding |  | Avoid surface construction in flood prone zones.
0 | Intense rainfall |  | Localised flooding |  | Incorporate water sensitive urban design (WSUD) treatments such as rain gardens / swales on road shoulder.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_TR (hidden)
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Heatwave |  | Heat island effect |  | Use lighter road colours to reduce urban heat island effect.
0 | Heatwave |  | Road hardening and deterioration |  | Construct road (particularly surface) with materials designed for higher temperatures (e.g. bitumen and line markings with high durability).
0 | Intense rainfall |  | Localised flooding |  | Improve drainage capacity in low lying areas.
0 | Intense rainfall |  | Localised flooding |  | Increase use of permeable pavements for existing impermeable cover.
0 | Intense rainfall |  | Localised flooding |  | Use semi-porous infrastructure to reduce stormwater runoff and flooding.
0 | Intense rainfall |  | Localised flooding |  | Avoid surface construction in flood prone zones.
0 | Intense rainfall |  | Localised flooding |  | Incorporate water sensitive urban design (WSUD) treatments such as rain gardens / swales on road shoulder.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_IN
Back to Cover
Adapation actions
Identifying actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
How could you change the project to mitigate the impacts you identified? Please list potential adaptation actions in the table below.
Next, please rank up to 5 of these actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers.
| Potential adaptation action | [6 empty] | Rank
0
0
0
0
0
0
0
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  | Ranked action
|  |  |  | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  | Go to Action Plan

## T3_Capital_OS1
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Heatwave |  | Heat island effect |  | Plant trees to increase canopy cover, particularly in rest areas.
0 | Heatwave |  | Heat island effect |  | Install drinking water fountains at rest areas.
0 | Drought / Reduced rainfall |  | Hardening of ground |  | Implement opportunities to use water sensitive urban design (WSUD) such as rain gardens / swales to increase water retention and reabsorption.
0 | Drought / Reduced rainfall |  | Reduced water availability |  | Incorporate use of alternative water sources, e.g. waste water, capture treatment and reuse.
0 | Drought / Reduced rainfall |  | Reduced water availability |  | Implement and report on improvements to irrigation technology; and Implement soil conditioning for water retention.
0 | Drought / Reduced rainfall |  | Reduced water availability |  | Implement soil conditioning techniques to improve water retention.
0 | Drought / Reduced rainfall |  | Reduced water availability |  | Select plant species that are drought tolerant.
0 | Intense rainfall |  | Localised flooding |  | Install bio swales, rain gardens and other water sensitive urban design (WSUD) treatments to reduce stormwater runoff and associated pollution.
0 | Intense rainfall |  | Localised flooding |  | Incorporate permeable pavement for paths to reduce excess stormwater runoff.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_OS2
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Implement alternative surface coverings - e.g. more climate resilient turf species (e.g. lower water and nutrition requirements, higher wear tolerance) and reduced turf areas.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Consider use of artificial turf on certain sports fields, and identify sporting grounds that would be well suited to this measure.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Implement and report on improvements to irrigation technology; and Implement soil conditioning for water retention.
0 | Drought / Reduced rainfall |  | Reduced water availability |  | Incorporate use of alternative water sources, e.g. waste water, capture treatment and reuse.
0 | Heatwave |  | Heat island effect / heat exhaustion |  | Plant trees, install shading and drinking fountains at sporting fields.
0 | Heatwave |  | Heat exhaustion |  | Install infrastructure to allow sporting field to be used outside the heat of the day (e.g. lighting for use in evenings).
0 | Intense rainfall |  | Localised flooding |  | Install bio swales, rain gardens and other water sensitive urban design (WSUD) treatments to reduce stormwater runoff and associated pollution.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Evaluate all sporting grounds for potential injury threat, likelihood of use restrictions, and sporting groups that utilise them and numbers of users.
0 | Heatwave / Drought / Reduced rainfall |  | Turf hardening and degradation |  | Reassess insurance and liability status for the use of sports fields to ensure that coverage is appropriate and liability is reflective of changing field conditions.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Engage with sporting groups to convey risks of hardening grounds and ensure that all athletes are aware.
0 | Heatwave / Drought / Reduced rainfall |  | Heat exhaustion, turf hardening and degradation |  | Consider public signage of sports fields during risky periods / extreme weather events to restrict usage or convey injury risk.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Relocation of sport activities to indoor when outdoor sporting facilities cannot be maintained, as a result of variables such as temperatures change and annual rainfall.
0 | Drought / Reduced rainfall |  | Turf hardening and degradation |  | Ensure a diversity of sporting choices that are not all dependent of irrigated sports grounds.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_BL
Back to Cover
Adapation actions
Selecting actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
Below is a list of possible actions that might help mitigate the impacts you have identified.
Please rank up to 5 actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers. Space has been allowed for you to enter new actions as well.
| Event |  | Impact |  | Adaptation action |  |  |  |  | Rank
0 | Heatwave |  | Decrease in thermal comfort |  | Incorporate green infrastructure into design (e.g. green roofs, green walls).
0 | Heatwave |  | Decrease in thermal comfort |  | Use reflective and/or double glazing and reflective roofing.
0 | Heatwave |  | Decrease in thermal comfort |  | Use of drought resistant trees and vegetation to provide shading for buildings.
0 | Heatwave |  | Decrease in thermal comfort |  | Install roof ventilators such as whirlybirds on roof to remove heated air from the roof cavity, lowering temperature in living spaces and reducing reliance on air conditioning.
0 | Heatwave |  | Decrease in thermal comfort |  | Increase insulation and sealing against external air flow.
0 | Heatwave |  | Decrease in thermal comfort |  | Introduce low-absorbent, heat reducing materials and design to minimise heat infiltration.
0 | Heatwave |  | Decrease in thermal comfort |  | Include other passive / natural ventilation elements into design (e.g. construction of building with appropriate orientation to the sun).
0 | Heatwave |  | Power outages |  | Install solar panels and back up battery capable of operating in ‘island mode’.
0 | Heatwave |  | Decrease in thermal comfort |  | Allow space for larger air conditioner in the design to cope with future hotter temperatures. (only as a last resort)
0 | Drought / Reduced rainfall |  | Water shortages |  | Install water tanks to capture storm water.
0 | Drought / Reduced rainfall |  | Water shortages |  | Include water recycling appliances in building.
0 | Drought / Reduced rainfall |  | Water shortages |  | Use drought tolerant plants in landscaping around building.
0 | Intense rainfall |  | Localised flooding |  | Using water resistant materials (e.g. concrete, fibre cement).
0 | Intense rainfall |  | Localised flooding |  | Ensuring that drainage allows water to escape after the flood.
0 | Intense rainfall |  | Localised flooding |  | Raising vulnerable equipment (e.g. service meters) in known flooding hotspots.
0 | Intense rainfall |  | Localised flooding |  | Designing a garden that will safely redirect water and increase site permeability.
0 | Intense rainfall |  | Localised flooding |  | Improving the quality of / detailing to roof edges, open decks, walls and joinery, retaining walls, floors, balconies, wall−roof junctions and roofs.
0 | Intense rainfall |  | Localised flooding |  | Ensuring roofs (particularly internal and box guttering) can withstand a 1-in-100 year rainfall event.
0 | Intense rainfall |  | Localised flooding |  | Improved drainage system for roads and car parks around vulnerable buildings.
0 | Intense rainfall |  | Localised flooding |  | Implement material alternatives for foundations and review current pile specifications.
0 | Intense rainfall |  | Structural damage |  | Selecting roof materials that are impact resistant (e.g. metal rather than terracotta).
0 | Intense rainfall |  | Structural damage |  | Designing or installing appropriate window protection.
0 | Intense rainfall |  | Structural damage |  | Ensuring there are drainage cavities in walls to reduce the potential for moisture of structure and prevent dry rot.
0 | Intense rainfall |  | Structural damage |  | Minimise the slope of land surrounding the building to reduce the potential energy of flood waters and hence reduce impact on foundations / structure.
0 | All |  | All |  | Monitor climate change impacts.
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  |  |  | Ranked action
[6 empty] | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  |  | Go to Action Plan

## T3_Capital_PL
Back to Cover
Adapation actions
Identifying actions
Now that you have identified the potential impacts of climate change, you will need to think about how you could minimise these impacts. There is usually a number of different things you can do, and may include slightly changing a part of the project design, or including a completely new element.
For more information about adaptation actions visit xx
How could you change the project to mitigate the impacts you identified? Please list potential adaptation actions in the table below.
Next, please rank up to 5 of these actions (with 1 being the most preferred action) that you may wish to implement for your project. Type the rank into the column to the right of the actions - do not repeat numbers.
| Potential adaptation action | [6 empty] | Rank
0
0
0
0
0
0
0
0
0
0
Reviewing actions
There is still uncertainty about exactly how and when the climate is going to change. It is therefore important to pick actions that will be useful and relevant under a range of different climate conditions, are practical and not going to further contribute to climate change.
The following criteria will help decide whether the actions you have selected are flexible and will still work under a range of climates.
Please select either 'Yes' or 'No' for your selected / ranked actions against the following criteria. Ideally your actions will meet as many of the criteria below as possible.
If any of the actions you selected did not meet many of the criteria consider how you could change the action or select a different one.
The actions you've ranked 1 to 5 have been collated below for convenience.
| Rank | Potential adaptation action
| 1 | #N/A
| 2 | #N/A
| 3 | #N/A
| 4 | #N/A
| 5 | #N/A
| Action criteria |  |  | Ranked action
|  |  |  | 1 | 2 | 3 | 4 | 5
Cost effective
Delivers multiple benefits*
Flexible and robust*
Practical to implement and maintain
Has any unintended negative consequences*
Has any negative equity implications*
Leads to substantial increase in greenhouse gas emissions*
*click for an example
| Back |  | Go to Action Plan

## T4_Summary_Operating
Back to Cover
Adaptation Action Plan
Project details
Project ID:
Project name:
Guidance Tool completed by:
Summary of climate projections
By 2030 climate change is expected to lead to an increase in average daily temperatures and the incidence of heatwaves, intense rainfall events and extreme weather and a decrease in average annual rainfall in the City of Yarra. Specifically:
• Increase in the average annual temperature by 0.94°C (ranges from 0.63°C increase to 1.29°C increase) • Increase in the number of hot days over 35°C from 8 days to 12 days • Decrease in average annual rainfall by 1.66% (ranges from 12.23% decrease to 3.01% increase) • Decrease in the number of frost days from 3 days to 1 day • Increase in the frequency and extent of droughts • Increase in rainfall intensity and the frequency and severity of storm events
Summary of possible impacts
The possible impacts as entered by the user are reproduced below.
#N/A
Summary of adaptation actions
Below is a list of up to 5 possible actions that might help mitigate the impacts that have been identified.
Follow up questions - please comment on the following for each action below:
• How to action this / next steps? • What are the barriers?
Type your comments into the columns to the right of the actions.
| Potential adaptation action |  |  | Next steps | Barriers
1 | #N/A
2 | #N/A
3 | #N/A
4 | #N/A
5 | #N/A
| Back |  | Back to Cover

## T4_Summary_Capital
Back to Cover
Adaptation Action Plan
Project details
Project ID:
Project name:
Guidance Tool completed by:
Summary of climate projections
Please select asset life
Please select asset life
Summary of possible impacts
The possible impacts as entered by the user are reproduced below.
#N/A
Summary of adaptation actions
Below is a list of up to 5 possible actions that might help mitigate the impacts that have been identified. These have been ranked from 1 to 5, with 1 being the most preferred action.
Follow up questions - please comment on the following for each action below:
• How to action this / next steps? • What are the barriers?
Type your comments into the columns to the right of the actions.
Rank | Potential adaptation action |  |  | Next steps |  |  | Barriers
1 | #N/A
2 | #N/A
3 | #N/A
4 | #N/A
5 | #N/A
Action criteria |  |  |  |  | Ranked action
[5 empty] | 1 | 2 | 3 | 4 | 5
Cost effective |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Delivers multiple benefits* |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Flexible and robust* |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Practical to implement and maintain |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Has any unintended negative consequences* |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Has any negative equity implications* |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
Leads to substantial increase in greenhouse gas emissions* |  |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
*click for an example
Back |  |  | Back to Cover

## Cover page options (hidden)
Default | Service review
This tool is designed to help you consider how climate change might impact your project, and how to make it more resilient to climate change. After completing the tool, you will have developed a simple Adaptation Action Plan for your project. In south-eastern Australia, climate change is projected to increase average daily temperatures and the incidence of heatwaves, intensify rainfall events and extreme weather and decrease average annual rainfall. These changes will affect infrastructure, communities and local environments. Effective adaptation will help ensure Councils remain able to achieve their objectives and continue to deliver high-quality services to their local communities. For more information about adaptation visit xx | This tool is designed to help you consider how climate change might impact upon the objectives of your Branch and the services it provide. After completing the tool, you will have developed a list of options for addressing the identified impacts, for consideration in the service review process. It is recommended that this tool be filled out as a group activity to maximise the effectiveness of the identified options. In south-eastern Australia, climate change is projected to increase average daily temperatures and the incidence of heatwaves, intensify rainfall events and extreme weather and decrease average annual rainfall. These changes will affect infrastructure, communities and local environments. Effective adaptation will help ensure Councils remain able to achieve their objectives and continue to deliver high-quality services to their local communities. For more information about adaptation visit xx

## List options (hidden)
Please select from drop down list
Operating
Capital
Please select from drop down list
Roads / Transport | RO | Capital_RO
Drainage | DR | Capital_DR
Bridges | BR | Capital_BR
Information Systems | IN | Capital_IN
Open Space - Parks and Gardens | OS1 | Capital_OS1
Open Space - Sporting Fields | OS2 | Capital_OS2
Buildings | BL | Capital_BL
Plant & Equipment | PL | Capital_PL
Please select from drop down list
Service review | SR | Operating_SR
Strategy / policy / program development | SD | Operating_SD
Please select from drop down list
0-30 years | 2030
30+ years | 2070
ACTIVE | #N/A
Yes
No
Tab selection
T1
#N/A
T2
Roads / Transport | T2_Capital_RO |  | 0
Drainage | T2_Capital_DR |  | 0
Bridges | T2_Capital_BR |  | 0
Information Systems | T2_Capital_IN |  | 0
Open Space - Parks and Gardens | T2_Capital_OS1 |  | 0
Open Space - Sporting Fields | T2_Capital_OS2 |  | 0
Buildings | T2_Capital_BL |  | 0
Plant & Equipment | T2_Capital_PL |  | 0
Service review | T2_Operating_SR |  | 0
Strategy / policy / program development | T2_Operating_SD |  | 0
T3
#N/A
|  |  | 1 | 2 | 3 | 4 | 5
Roads / Transport | T3_Capital_RO |  | Not selected | Not selected | Not selected | Not selected | Not selected
Drainage | T3_Capital_DR |  | Not selected | Not selected | Not selected | Not selected | Not selected
Bridges | T3_Capital_BR |  | Not selected | Not selected | Not selected | Not selected | Not selected
Information Systems | T3_Capital_IN |  | Not selected | Not selected | Not selected | Not selected | Not selected
Open Space - Parks and Gardens | T3_Capital_OS1 |  | Not selected | Not selected | Not selected | Not selected | Not selected
Open Space - Sporting Fields | T3_Capital_OS2 |  | Not selected | Not selected | Not selected | Not selected | Not selected
Buildings | T3_Capital_BL |  | Not selected | Not selected | Not selected | Not selected | Not selected
Plant & Equipment | T3_Capital_PL |  | Not selected | Not selected | Not selected | Not selected | Not selected
Service review | T3_Operating_SR |  | 0 | 0 | 0 | 0 | 0
Strategy / policy / program development | T3_Operating_SD |  | 0 | 0 | 0 | 0 | 0
Reviewing actions - ACTIVE
#N/A
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Delivers multiple benefits* | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Flexible and robust* | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Practical to implement and maintain | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Has any unintended negative consequences* | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Has any negative equity implications* | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Leads to substantial increase in greenhouse gas emissions* | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Reviewing actions - Roads / Transport
T3_Capital_RO
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_RO | 0 | 0 | 0 | 0 | 0
Reviewing actions - Drainage
T3_Capital_DR
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_DR | 0 | 0 | 0 | 0 | 0
Reviewing actions - Bridges
T3_Capital_BR
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_BR | 0 | 0 | 0 | 0 | 0
Reviewing actions - Information Systems
T3_Capital_IN
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_IN | 0 | 0 | 0 | 0 | 0
Reviewing actions - Open Space - Parks and Gardens
T3_Capital_OS1
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_OS1 | 0 | 0 | 0 | 0 | 0
Reviewing actions - Open Space - Sporting Fields
T3_Capital_OS2
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_OS2 | 0 | 0 | 0 | 0 | 0
Reviewing actions - Buildings
T3_Capital_BL
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_BL | 0 | 0 | 0 | 0 | 0
Reviewing actions - Plant & Equipment
T3_Capital_PL
|  |  | 1 | 2 | 3 | 4 | 5
Cost effective | 1 | 1_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Delivers multiple benefits* | 2 | 2_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Flexible and robust* | 3 | 3_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Practical to implement and maintain | 4 | 4_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Has any unintended negative consequences* | 5 | 5_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Has any negative equity implications* | 6 | 6_T3_Capital_PL | 0 | 0 | 0 | 0 | 0
Leads to substantial increase in greenhouse gas emissions* | 7 | 7_T3_Capital_PL | 0 | 0 | 0 | 0 | 0

## Impact options (hidden)
Roads | road hardening and deterioration leading to more frequent maintenance and renewal; vegetation stress and heat island effect leading to reduced amenity and heat stress on community
Drainage | drainage blockages leading to localised flooding and disruption to local residents
Bridges | road hardening and deterioration leading to more frequent maintenance and renewal, localised flooding, heat island effect
Transport | road hardening and deterioration, localised flooding, heat island effect
Information Systems | power outages, localised flooding, heat island effect, vegetation stress, road degradation
Open Space - Parks and Gardens | hardening of ground, localised flooding, water shortages, heat island effect, vegetation stress and death
Open Space - Sporting Fields | turf hardening and degradation leading to closures or restricted access, water shortages leading to turf dieback, heat stress on users leading to illness
Buildings | decreased thermal comfort leading to more pressure on cooling system, higher electricity bills and complaints from occupants; power outages leading to temporary closure of the building and disruption to council services; structural damage and flooding from extreme rainfall leading to more frequent maintenance and renewal and disruption to building users
Plant & Equipment | power outages, localised flooding, heat island effect, vegetation stress, road degradation

## Scenarios (hidden)
2030 | • Increase in the average annual temperature by 0.94°C (ranges from 0.63°C increase to 1.29°C increase) • Increase in the number of hot days over 35°C from 8 days to 12 days • Decrease in average annual rainfall by 1.66% (ranges from 12.23% decrease to 3.01% increase) • Decrease in the number of frost days from 3 days to 1 day • Increase in the frequency and extent of droughts • Increase in rainfall intensity and the frequency and severity of storm events
2070 | • Increase in the average annual temperature by 2.57°C (ranges from 2.05°C increase to 3.13°C increase) • Increase in the number of hot days over 35°C from 8 days to 17 days • Decrease in average annual rainfall by 4.68% (ranges from 23.38% decrease to 4.48% increase) • Decrease in the number of frost days from 3 days to 0 days • Increase in the frequency and extent of droughts • Increase in rainfall intensity and the frequency and severity of storm events